## Sample data-High Load
DATE AND TIME |  | INLET AIR CONDITIONS |  |  |  |  | COMPRESSOR |  |  |  |  | COMBUSTOR |  |  |  | POWER TURBINE |  | POWER OUTPUT | HEAT RECOVERY STEAM GENERATOR | [7 empty] | INLET AIR COOLER/HEATER
Date | Time | Absolute Atmospheric Pressure | Bellmouth Temperature | Outside Air Dry-Bulb Temperature | Outside Air Wet-Bulb Temperature | Ambient Air Relative Humidity | P2 INLET PRESSURE - PT8024 | LP Compressor Inlet Temperature | HP Compressor Discharge Pressure | HP Compressor Discharge Temperature | Bleed Valve Position | Combustion Air Plenum Temperature | Combustion Air Plenum Guard Filter Differential Pressure | Gas Fuel Lower Heating Value | Fuel Gas Flow Total | P48 INLET/EXHAUST PRESSURE | T48 Power Turbine Inlet Temperature | Turbine Generator Electrical Load | HRSG Duct Burner Fuel Gas Flow | HRSG Superheater #1 Gas Inlet Temperature | HRSG Superheater #1 Gas Outlet Temperature | HRSG HP Superheater #1 Outlet Pressure | HRSG Superheater #2 Gas Side Inlet Temperature | HRSG HP Superheater #2 Gas Side Outlet Temperature | HRSG Inlet Pressure | Stack Flow Instantaneous | Chilling/Anti-Icing Coil Water-Side Differential Pressure | Chilling/Anti-Icing Coil Water-Side Differential Temperature | Inlet Air Coil Chill Water Diff. Temp | Inlet Air Cooler Chill Water Flow | Inlet Air Cooler Chill Water Instantaneous Tons | Air Intake Coil Chilled Water Return Pressure | Air Intake Coil Chilled Water Return Temp | Air Intake Coil Chilled Water Supply Pressure | Air Intake Coil Chilled Water Supply Temp
|  | PSIA | °F | °F | °F | Percent (0-100%) | psia | DEGF | PSIA | DEGF | PCT | °F | PSID | BTU/LBM | Lbm/Hr | psia | DEGF | MW | KSCF/Hr | °F | °F | PSIG | °F | °F | PSIG | KSCFH | PSID | °F | F | GPM | Tons | PSIG | °F | PSIG | °F
2013-02-01 15:55 | 41306.6632 | 14.532 | 44.9824 | 71.0391 | 53.8071 | 29.9873 | 14.1636 | 44.9813 | 343.5247 | 916.3015 | 5.0499 | 49.2447 | 0.7622 | 20186.5001 | 14182.1413 | 71.1548 | 1567.9006 | 32.0552 | 13.6777 | 976.268 | 898.8833 | 423.206 | 984.877 | 933.8154 | 9.7358 | 776.5833 | 1.5029 | -16.16 | 16.0014 | 531.5064 | 354.5256 | 59.0611 | 55.4169 | 60.564 | 39.2569
2013-02-01 15:56 | 41306.6639 | 14.5314 | 45.0955 | 71.0824 | 53.8363 | 30.0035 | 14.1704 | 45.1284 | 342.6465 | 914.747 | 5.0559 | 49.2612 | 0.7461 | 20186.3122 | 14124.5774 | 70.9876 | 1565.4438 | 31.9148 | 13.705 | 976.3473 | 898.9812 | 422.9398 | 984.897 | 933.9075 | 9.6975 | 770.5014 | 1.551 | -16.1905 | 15.9543 | 525.318 | 349.3426 | 58.339 | 55.4776 | 59.89 | 39.2872
2013-02-01 15:57 | 41306.6646 | 14.5308 | 45.0489 | 71.1789 | 53.9353 | 30.1116 | 14.167 | 45.0434 | 343.3107 | 916.1224 | 5.049 | 49.3072 | 0.79811 | 20186.1243 | 14183.9557 | 71.1205 | 1567.7113 | 31.9514 | 13.6994 | 976.3773 | 898.9673 | 423.3582 | 984.7584 | 933.6895 | 9.6595 | 775.5537 | 1.4054 | -16.4357 | 16.2084 | 525.3854 | 354.927 | 58.3251 | 55.6729 | 59.754 | 39.2371
2013-02-01 15:58 | 41306.6653 | 14.531 | 44.9934 | 71.2977 | 54.0391 | 30.1588 | 14.1658 | 45.0271 | 343.1942 | 915.3577 | 5.0607 | 49.296 | 0.82542 | 20185.9364 | 14134.2816 | 71.0576 | 1566.6232 | 32.0517 | 13.7002 | 976.4866 | 899.0714 | 422.9959 | 984.9635 | 933.5441 | 9.7682 | 776.6694 | 1.6036 | -16.5366 | 16.2981 | 537.1439 | 364.7974 | 58.1368 | 55.7597 | 59.7404 | 39.2231
2013-02-01 15:59 | 41306.666 | 14.5311 | 44.9851 | 71.3442 | 54.062 | 30.1187 | 14.1701 | 44.9801 | 343.732 | 916.463 | 5.0543 | 49.2774 | 0.81322 | 20185.7485 | 14191.4259 | 71.1684 | 1568.2761 | 32.0326 | 13.7022 | 976.4207 | 898.9997 | 423.3404 | 984.8032 | 933.5561 | 9.6852 | 776.1611 | 1.6722 | -16.3645 | 16.1329 | 548.2729 | 368.6099 | 58.8523 | 55.5777 | 60.5245 | 39.2131
2013-02-01 16:00 | 41306.6667 | 14.5314 | 44.9656 | 71.3775 | 54.0823 | 30.126 | 14.1591 | 44.9489 | 343.1182 | 914.995 | 5.0547 | 49.2517 | 0.84519 | 20185.5606 | 14142.6676 | 71.0384 | 1565.7241 | 31.952 | 13.7062 | 976.6526 | 899.1798 | 423.1926 | 984.8877 | 933.7156 | 9.7213 | 776.1611 | 1.6651 | -16.3744 | 16.1787 | 560.9086 | 378.3041 | 59.6926 | 55.5651 | 61.3577 | 39.1906
| Average | 14.5313 | 45.0118 | 71.22 | 53.9604 | 30.0843 | 14.166 | 45.0182 | 343.2544 | 915.6645 | 5.0541 | 49.273 | 0.79837 | 20186.0304 | 14159.8416 | 71.0879 | 1566.9465 | 31.993 | 13.6984 | 976.4254 | 899.0138 | 423.1722 | 984.8645 | 933.7047 | 9.7113 | 775.2717 | 1.5667 | -16.3436 | 16.129 | 538.0892 | 361.7511 | 58.7345 | 55.5783 | 60.3051 | 39.2347
| Engineering Units | PSIA | °F | °F | °F | Percent (0-100%) | psia | DEGF | PSIA | DEGF | PCT | °F | PSID | BTU/LBM | Lbm/Hr | psia | DEGF | MW | KSCF/Hr | °F | °F | PSIG | °F | °F | PSIG | KSCFH | PSID | °F | F | GPM | Tons | PSIG | °F | PSIG | °F